## SUMMARY
SUMMARY ELECTRIFICATION OF PRAKTISEER MOUNTAIN SQUARE
Item | Description | Amount
NUMBER OF STANDS /CONNECTIONS (1009) |  | Materials | Labour | Total Price
A | Preliminaries & General
B | Pegging out the works
C | Digging Holes
D | Plant poles
E | MV Structures Three Phase
F | MV Anchors
G | LV Structures
H | LV Anchors
I | Service Boxes
J | Stringing
K | Transformer Installation
L | LV Protection
M | Installation Earthing
N | Pole Numbering
O | Commissioning
P | Other Material & Auto Recloser
Q | House Connections
R | Excavate and plant shack poles
S | LV Conductor (Supply Cable)
TOTAL
SUB TOTAL 1
CONTINGENCY @10%
SUB TOTAL 2
15% VAT
TOTAL CONSTRUCTION AMOUNT

## BOQ
BILLS OF QUANTITIES ELECTRIFICATION OF PRAKTISEER MOUNTAIN SQUARE
Item | Description | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
A | Preliminaries & General
1 | Site Camp, Store, personnel, rental, transport, name board etc | Sum | 0 |  | 1
2 | Allowances for the Provision of Perfomance Gurantee & Works Insurance for the full project duration | Sum | 0 |  | 1
3 | Payment of CLO @ R6000 per month (Provisional Amount) | Month | 0 |  | 8 | 6600 |  | 52800 | 52800
4 | Payment of worker for entry and exit medical testing | Month | 0 |  | 1
5 | Payment of Security | Month | 0 |  | 8
6 | Payment of PSC Members - 7 members x Duration (Provisional Amount) | Month | 0 |  | 8 | 1925 |  | 15400 | 15400
7 | EPWP Salary(20 labours for 6 Months) ((Provisional Amount) | Month | 0 |  | 6 | 121000 |  | 726000 | 726000
8 | Compliance with OHS ACT incl. Safety File and safety instructions | Sum | 0 |  | 1
9 | Occupational Health and Safety consultant | Prov Sum | 0 |  | 1 | 250000 |  | 250000 | 250000
10 | Social Facilitation Consultant | Prov Sum | 0 |  | 1 | 250000 |  | 250000 | 250000
11 | Training for EPWP by an Accreditated Institute as Approved by the Engineer (Provisional Amount) | Prov Sum | 0 |  | 1 | 200000 | 0 | 200000 | 200000
12 | Engineer's Facilities (Provisional Sum) to be utilised as Directed & Approved by the Engineer | Prov Sum | 1 | 150000 | 0 | 0 | 150000 | 0 | 150000
13 | PPE for Local Labourers (20) | Sum | 1 |  | 0
SUB-TOTAL
B | Pegging out the works | Unit | MQty | MRate | LQty |  | Mtotal | Ltotal | Total
1 | MV Pegging | KM | 0 | 0 | 4
2 | LV Pegging | KM | 0 | 0 | 18
3 | AS-Built drawing by surveyor | KM | 0 | 0 | 22
4 | Bush Clearing and Tree Felling | KM | 0 | 0 | 9
SUB-TOTAL
C | Digging Holes | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1A | LV stay back-actor or hand | e.a. | 0 |  | 72
1B | LV stay Rock Drill | e.a. | 0 |  | 139
1C | LV stay Compressors | e.a. | 0 |  | 151.8
1D | LV 9m Strut Poles Rock Drill | e.a. | 0 |  | 60
1D | LV 11m Strut Poles Rock Drill | e.a. | 0 |  | 5
2A | MV stay back-actor or hand | e.a. | 0 |  | 11.6
2B | MV stay Rock Drill | e.a. | 0 |  | 51.4
2C | MV 12m Strut Pole Rock Drill | e.a. | 0 |  | 16
3A | 7m Pole back-actor or hand | e.a. | 0 |  | 106
3B | 7m Pole Rock Drill | e.a. | 0 |  | 212
3C | 7m Pole Compressors | e.a. | 0 |  | 212
4A | 9m Pole back-actor or hand | e.a. | 0 |  | 14.6
4B | 9m Pole Rock Drill | e.a. | 0 |  | 29.2
4C | 9m Pole Compressors | e.a. | 0 |  | 29.2
5A | 10m Pole back-actor or hand | e.a. | 0 |  | 0
5B | 10m Pole Rock Drill | e.a. | 0 |  | 0
5C | 10m Pole Compressors | e.a. | 0 |  | 0
6A | 11m Pole back-actor or hand | e.a. | 0 |  | 21.2
6B | 11m Pole Rock Drill | e.a. | 0 |  | 42.4 | [5 empty] | ,
6C | 11m Pole Compressors | e.a. | 0 |  | 42.4
SUB-TOTAL
D | Plant Poles | Unit | MQty | MRate | LQty |  | Mtotal | Ltotal | Total | MRate | 108%
1 | 7m Wood 120-140mm tops | e.a. | 530 |  | 530 |  |  |  |  | 577 | 623.16
2 | 9m Wood 140-160mm tops | e.a. | 48 |  | 48 |  |  |  |  | 887 | 957.96
3 | 9m Wood 180-200 mm tops | e.a. | 25 |  | 25 |  |  |  |  | 1335 | 1441.8
4 | 10m Wood 160-180mm tops | e.a. | 0 |  | 0 |  |  |  |  | 0 | 0
5 | 10m Wood 180-200mm tops | e.a. | 0 |  | 0 |  |  |  |  | 0 | 0
6 | 11m Wood 160-180mm tops | e.a. | 65 |  | 65 |  |  |  |  | 1806.29 | 1950.7932
7 | 11m Wood 180-200mm tops | e.a. | 41 |  | 41 |  |  |  |  | 2071 | 2236.68
8 | 12m Wood 160-180mm tops | e.a. | 0 |  | 0 |  |  |  |  | 0 | 0
9 | 13m Wood 180-200mm tops | e.a. | 0 |  | 0 |  |  |  |  | 2278.1 | 2460.348
SUB-TOTAL | [10 empty] | 0
E | MV Structures | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | MRate | #VALUE!
| DUAL PHASE | [9 empty] | 0
1 | Int ass delta 0 deg | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Int ass vertical (1-10 deg) | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Int ass stag vertical ( 0 deg ) | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Strain ass delta (0-30 deg) | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Strain ass delta (30-90 deg) | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Terminal delta | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | T-off ass int-delta | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | T-off ass str-delta | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | T-off ass int vert | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Susp ass vert (10-30 deg) | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Strain ass vertical ( 30-90 deg ) | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Terminal ass vert | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | In-line strain vert | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | T-off ass strain vert | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| THREE PHASE | [8 empty] | MRate | #VALUE!
1 | Int ass delta 0 deg | e.a. | 0 |  | 0 |  |  |  |  | 0 | 0
2 | Int ass vertical (0-10 deg) D-DT-1710 | e.a. | 43 |  | 43 |  |  |  |  | 1364.528 | 1473.6902
3 | Int ass stag vertical ( 10 -30 deg ) D-DT-1712 | e.a. | 7 |  | 7 |  |  |  |  | 1849.903 | 1997.8952
4 | Int ass stag vertical ( 30-90 deg )3ph | e.a. | 0 |  | 0 |  |  |  |  | 0 | 0
5 | Strain ass delta (30-90 deg) | e.a. | 0 |  | 0 |  |  |  |  | 0 | 0
6 | T-off ass int-delta | e.a. | 0 |  | 0 |  |  |  |  | 0 | 0
7 | T-off ass str-delta | e.a. | 0 |  | 0 |  |  |  |  | 0 | 0
8 | T-off ass int vert D-DT-1801 | e.a. | 14 |  | 14 |  |  |  |  | 1774.795 | 1916.7786
9 | Susp ass vert (10-30 deg) | e.a. | 0 |  | 0 |  |  |  |  | 1200 | 1296
10 | Strain ass vertical (30-90 deg) D-DT-1715 | e.a. | 22 |  | 22 |  |  |  |  | 2863.179 | 3092.2333
11 | Terminal ass vert D-DT-1716 | e.a. | 18 |  | 18 |  |  |  |  | 1471.987 | 1589.746
12 | In-line strain vert | e.a. | 0 |  | 0 |  |  |  |  | 0 | 0
SUB-TOTAL |  |  | 104 | [7 empty] | 0
F | MV Anchors | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | MRate | #VALUE!
1 | 1 Off conv anchor | e.a. | 74 |  | 74 |  |  |  |  | 1441.385 | 1556.6958
2 | 1 Off flying stay | e.a. | 9 |  | 9 |  |  |  |  | 2016.916 | 2178.2693
3 | 1 Off strut pole 12m | e.a. | 21 |  | 21 |  |  |  |  | 1360.81 | 1469.6748
SUB-TOTAL | [10 empty] | 0
G | LV Structures | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | MRate | #VALUE!
1 | Int / susp (0-30 deg) | e.a. | 333 |  | 333 |  |  |  |  | 100 | 108
2 | Intermediate service | e.a. | 0 |  | 0 |  |  |  |  | 0 | 0
3 | Strain (0-60 deg) | e.a. | 49 |  | 49 |  |  |  |  | 210.815 | 227.6802
4 | Strain (60-90 deg) | e.a. | 126 |  | 126 |  |  |  |  | 229.702 | 248.0782
5 | Terminal | e.a. | 122 |  | 122 |  |  |  |  | 136.158 | 147.0506
6 | T-off from interm | e.a. | 73 |  | 73 |  |  |  |  | 227.36 | 245.5488
7 | T-off from strain | e.a. | 0 |  | 0 |  |  |  |  | 0 | 0
8 | Cross int-int ass | e.a. | 10 |  | 10 |  |  |  |  | 969.353 | 1046.9012
9 | ABC 3Ph Terminations at Tfr | e.a. | 36 |  | 36 |  |  |  |  | 450 | 486
SUB-TOTAL |  |  | 749 | [7 empty] | 0
H | LV Anchors | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | MRate | #VALUE!
1 | 1 Off conv anchor | e.a. | 408 |  | 408 |  |  |  |  | 642.532 | 693.9346
2 | 1 flying Stay | e.a. | 10 |  | 10 |  |  |  |  | 574.332 | 620.2786
3 | 1 Off strut pole 9m |  | 60 |  | 60
4 | 1 Off strut pole 11m | e.a. | 20 |  | 20 |  |  |  |  | 1639.671 | 1770.8447
SUB-TOTAL | [10 empty] | 0
I | Service Boxes | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | MRate | #VALUE!
1A | 6 Way Split Meter box : 1 x 50 A mcb | e.a. | 410 |  | 410 |  |  |  |  | 794 | 857.52
2B | 5 - 8 Way Split Meter box : 2 x 63 A mcb | e.a. | 0 |  | 0 | [5 empty] | 0
SUB-TOTAL | [10 empty] | 0
J | Stringing | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | MRate | #VALUE!
1 | Squirrel conductor | m | 0 |  | 0 |  |  |  |  | 0 | 0
2 | Fox conductor | m | 0 |  | 0 |  |  |  |  | 0 | 0
3 | Mink conductor | m | 11454.345 |  | 11454.345 |  |  |  |  | 22.37 | 24.1596
4 | 35 mm sq ABC 1-ph | m | 0 |  | 0 | [5 empty] | 0
5 | 35 mm sq ABC 2- ph | m | 0 |  | 0 | [5 empty] | 0
6 | 35 mm sq ABC 3-ph | m | 0 |  | 0 |  |  |  |  | 41.888 | 45.239
7 | 70 mm sq ABC 1-ph | m | 0 |  | 0 | [5 empty] | 0
8 | 70 mm sq ABC 2-ph | m | 0 |  | 0 | [5 empty] | 0
9 | 70 mm sq ABC 3-ph | m | 20638.59 |  | 20638.59 |  |  |  |  | 99.34 | 107.2872
10 | MV mINK full tension joint | e.a. | 20 |  | 20 |  |  |  |  | 37.4 | 40.392
11 | LV joint 35 mm full tension | e.a. | 0 |  | 0 |  |  |  |  | 0 | 0
12 | LV joint 70 mm full tension | e.a. | 50 |  | 50 |  |  |  |  | 74.8 | 80.784
SUB-TOTAL | [10 empty] | 0
K | Transformer Installation | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | MRate | #VALUE!
| Transformers: 22kV | [9 empty] | 0
1 | 200kVA x 3 Ph (1 off) - relocate | ea | 0 |  | 0 |  |  |  |  | 0 | 0
2 | 200kVA x 3 Ph (1 off) - new | ea | 0 |  | 0 |  |  |  |  | 0 | 0
3 | 100kVA x 3 Ph (2 off) - relocate | ea | 0 |  | 0 |  |  |  |  | 0 | 0
4 | 100kVA x 3 Ph (2 off) - new | ea | 17 |  | 17 |  |  |  |  | 85175 | 91989
5 | 50kVA x 3 Ph (0 off) - relocate | ea | 0 |  | 0 |  |  |  |  | 0 | 0
6 | 50kVA x 3 Ph (0 off) - new | ea | 1 |  | 1 |  |  |  |  | 57999 | 62638.92
7 | 32kVA x 2 Ph (0 off) - relocate | ea | 0 |  | 0 |  |  |  |  | 0 | 0
8 | 32kVA x 2 Ph (0 off) - new | ea | 0 |  | 0 |  |  |  |  | 26235 | 28333.8
9 | 25kVA x 3 Ph (0 off) - relocate | ea | 0 |  | 0 |  |  |  |  | 0 | 0
10 | 25kVA x 3 Ph (0 off) - new | ea | 0 |  | 0 |  |  |  |  | 0 | 0
11 | 16kVA x 1 Ph (1 off) - relocate | ea | 0 |  | 0 |  |  |  |  | 0 | 0
12 | 16kVA x 1 Ph (1 off) - new | ea | 1 |  | 1 |  |  |  |  | 25260.9885 | 27281.8676
SUB-TOTAL | [10 empty] | 0
L | LV Protection Morsdorf type fuses | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | MRate | #VALUE!
1 | 80A Single Phase | e.a. | 1 |  | 1 |  |  |  |  | 369.985 | 399.5838
2 | 80A Dual phase (32kVA) | e.a. | 0 |  | 0 |  |  |  |  | 501.6 | 541.728
3 | 80A Three phase (50kVA) | e.a. | 3 |  | 3 |  |  |  |  | 788.007 | 851.0476
4 | 125A | e.a. | 0 |  | 0 |  |  |  |  | 697.5848 | 753.3916
5 | 160A Three phase (100kVA) | e.a. | 51 |  | 51 |  |  |  |  | 829.191 | 895.5263
SUB-TOTAL | [10 empty] | 0
M | Installation Earthing | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | MRate | #VALUE!
1 | MV Earthing (Type 1 crowfoot) | e.a. | 19 |  | 19 |  |  |  |  | 1843.831 | 1991.3375
2 | LV Earthing (Type 1 crowfoot) | e.a. | 38 |  | 38 |  |  |  |  | 1826.957 | 1973.1136
3 | Bonding | e.a. | 57 |  | 57 |  |  |  |  | 5.489 | 5.9281
SUB-TOTAL | [10 empty] | 0
N | Pole Numbering | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | MRate | #VALUE!
1 | MV pole number | e.a. | 104 |  | 104 |  |  |  |  | 1.386 | 1.4969
2 | LV pole number | e.a. | 713 |  | 713 |  |  |  |  | 1.386 | 1.4969
SUB-TOTAL | [10 empty] | 0
O | Commissioning | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | MRate | #VALUE!
1 | Test & commission of Auto-Recloser Unit | e.a. | 1 |  | 1 |  |  |  |  | 0 | 0
2 | Test & commission trsf and MV equipment | e.a. | 19 |  | 19 |  |  |  |  | 0 | 0
SUB-TOTAL | [10 empty] | 0
P | Other Material & Auto Recloser | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | MRate | #VALUE!
1 | Solid Sectional Links 3 Phase D-DT-1848 | ea | 7 |  | 7 |  |  |  |  | 4167.329 | 4500.7153
2 | Fused Links 3 Phase D-DT-1849 | ea | 18 |  | 18 |  |  |  |  | 4167.329 | 4500.7153
3 | Fused Links Dual Phase D-DT-1849 | ea | 0 |  | 0 |  |  |  |  | 4167.329 | 4500.7153
4 | Sample line /Material Board | sum | 8 |  | 8 |  |  |  |  | 0 | 0
5 | Live Work (Number of T-Offs) | ea | 7 |  | 7 |  |  |  |  | 0 | 0
6 | Allow for Provisional amount for Supply & Installation Auto Recloser 22kV 400A 8kA complete with IRTU | Prov Sum | 1 | 350000 | 1 | 35000 | 350000 | 35000 | 385000 | 236610 | 255538.8
7 | Modem Unit including Vodacom Start Pack and the necessary associated telecomunication cables, connectors and accessories to enable full functionality | sum | 0 |  | 0 |  |  |  |  | 8943 | 9658.44
8 | Allow for Provisional amount for Supply & Installation of 22kV 200A 32 step closed delta Voltage Regulator and control box. | Prov Sum | 0 |  | 0 |  |  |  |  | 1966327 | 2123633.16
9 | Upgrade existing MV line from Dual to 3 Phase | m | 3000 |  | 3000 |  |  |  |  | 163.8 | 176.904
10 | Remove existing Transformer | m | 0 |  | 0 | [5 empty] | 0
11 | Dismantle existing MV line Including Removal of poles | m | 0 |  | 1400 |  |  |  |  | 0 | 0
12 | Ant-climbing device | ea | 57 |  | 57 |  |  |  |  | 491.821 | 531.1667
13 | Tree felling (trunk diameter > 300mm) | ea | 0 |  | 0 | [5 empty] | 0
SUB-TOTAL | [10 empty] | 0
Q | House Connections | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | MRate | #VALUE!
1 | Underground connection | ea | 0 |  | 0 | [5 empty] | 0
2 | Overhead connection | ea | 1009 |  | 1009 |  |  |  |  | 0 | 0
3 | Supply ECU base, fixing rails and plug | ea | 1009 |  | 1009 |  |  |  |  | 166.111 | 179.3999
4 | Supply Din Rail Single Phase PLC Smart Split Meter with CIU 20A with Keypad (Meters to be Purchased from Eskom) | ea | 1009 |  | 1009 |  |  |  |  | 2453.649 | 2649.9409
5 | Interface : DC450 G3: PLC DC;230V (To be Purchased from Eskom) | ea | 18 |  | 18 |  |  |  |  | 19881 | 21471.48
6 | KIOSK METER: 3PH;RAT/DC SECURE POLE MOUNT | ea | 18 |  | 18 |  |  |  |  | 14500 | 15660
7 | Sealing of meters | ea | 1009 |  | 1009 |  |  |  |  | 50 | 54
8 | COC Certificate ECA version | ea | 1009 |  | 1009 |  |  |  |  | 47.82 | 51.6456
9 | Supply and install additional 63A circuit breaker | ea | 0 |  | 0 | [5 empty] | 0
10 | Supply and Install and wire 63A curve-2 cb to a split pp meter | ea | 0 |  | 0 | [5 empty] | 0
11 | Supply and mount readyboard | ea | 1009 |  | 1009 |  |  |  |  | 410.245 | 443.0646
12 | Capture and submit list of customers name and surname stand no meter no and contact no | ea | 1009 |  | 1009 |  |  |  |  | 180 | 194.4
SUB-TOTAL
R | Supply ,Excavate and plant shack poles | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1A | 5m Wood 120-140 mm tops | e.a. | 404 |  | 404
1B | Rock Drill | e.a. | 0 |  | 0
1C | Compressors | e.a. | 0 |  | 0
2 | Compressors | e.a. | 0 |  | 0
3 | Hand Excavate Cable trench -house connection | m | 0 |  | 0
4 | Hand Excavate Cable trench-Road Crossing | m | 0 |  | 0
5 | Install Cable Sleeves 110mm | m | 0 |  | 0
SUB-TOTAL
S | LV Conductor ( Supply Cable) | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | 4mm sq Airdac SNE plus Pilot wires | m | 0 |  | 0
2 | 6mm sq Airdac SNE plus Pilot wires | m | 45405 |  | 45405
SUB-TOTAL