## SUMMARY
ELECTRIFICATION OF 415 HOUSEHOLDS AT STAAIKRAAL (STRYDKRAAL)
SUMMARY
Item | Description | Amount |  | Total Price
|  | Materials | Labour
A | Preliminaries & General | 0 | 0 | 0
B | Compliance with OHS Act | 0 | 240000 | 240000
C | Pegging out the works | 0 | 0 | 0
D | Digging Holes | 0 | 0 | 0
E | Plant poles | 0 | 0 | 0
F | Trenches | 0 | 0 | 0
G | HV Structures Three Phase | 0 | 0 | 0
H | MV Stays | 0 | 0 | 0
I | LV Structures | 0 | 0 | 0
J | LV Stays | 0 | 0 | 0
K | Service Boxes | 0 | 0 | 0
L | Stringing | 0 | 0 | 0
M | Transformer Installation | 0 | 0 | 0
N | LV Protection | 0 | 0 | 0
O | Installation Earthing | 0 | 0 | 0
P | Pole Numbering | 0 | 0 | 0
Q | Commissioning | 0 | 0 | 0 | 0
R | Other | 0 | 0 | 0
S | House Connections | 0 | 0 | 0
T | Excavate and plant poles | 0 | 0 | 0
U | Conductor | 0 | 0 | 0
V | 'Street Lights And Spigots | 0 | 0 | 0 |  | 35859645
|  | 0 |  |  | 0 | 35859645
SUB TOTAL A |  |  |  | 0 | 0 | 35859645
ADD CONTINGENCIES @ 10% |  |  |  | 0 | 0 | 3585964.5
SUB TOTAL B EXC. 15% VAT |  |  |  | 0 | 0 | 39445609.5
ADD 15% VAT |  |  |  | 0 | 0 | 39445609.5
TOTAL INC. 15% VAT |  |  |  | 0 | 0
COST PER CONNECTION ALL INCLUSIVE |  |  |  | 0

## Rates Contr
BILLS OF QUANTITIES FOR THE ELECTRIFICATION OF 415 HOUSEHOLDS AT STAAIKRAAL (STRYDKRAAL)
Item | Description | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
A | Site Establishment & Safety
1 | Site Camp, store, personnel, rental, transport, notice board, etc. | Sum | 1 |  | 1
2 | Payment of CLO @ R 6 500.00 Per Month | Prov. Sum | 0 | 0 | 4 | 6500 | 0 | 26000 | 26000
3 | Payment of Student @ R 5 500.00 Per Month | Prov. Sum | 0 | 0 | 4 | 5500 | 0 | 22000 | 22000
4 | Payment of PSC Members (6 members) | Prov. Sum | 0 | 0 | 4 | 3600 | 0 | 14400 | 14400
5 | Training | Prov. Sum | 0 | 0 | 1 | 45000 | 0 | 45000 | 45000
6 | Payment of UIF EPWP | Prov. Sum | 0 | 0 | 1 | 35000 | 0 | 35000 | 35000
7 | Payment of EPWP Workers | Prov. Sum | 0 | 0 | 1 | 400000 | 0 | 400000 | 400000
SUB-TOTAL
B | Compliance with OHS Act & Safety File and safety inspections and meetings. | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | Supply of all items of Personal Protective Clothing/Equipment & ensure use thereof for full compliance (EPWP Workers) | Sum | 0 | 0 | 1 | 105000 | 0 | 105000 | 105000
2 | Supply and provision of Equipment for working at Heights & ensure use thereof for full compliance | Sum | 0 | 0 | 1 | 20000 | 0 | 20000 | 20000
3 | Barricading: Supply & install, including removal upon completion to ensure full compliance to legislation | Sum | 0 | 0 | 1 | 15000 | 0 | 15000 | 15000
4 | Related Training | Sum | 0 | 0 | 1 | 20000 | 0 | 20000 | 20000
5 | Occupational Health and Safety Administration | Sum | 0 | 0 | 1 | 30000 | 0 | 30000 | 30000
6 | Medical Surveillance | Sum | 0 | 0 | 1 | 25000 | 0 | 25000 | 25000
7 | Facilities and Equipment | Sum | 0 | 0 | 1 | 10000 | 0 | 10000 | 10000
8 | Safety Signage | Sum | 0 | 0 | 1 | 15000 | 0 | 15000 | 15000
SUB-TOTAL | [6 empty] | 0 | 240000 | 240000
C | Pegging out the works | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | MV / LV Pegging as well as removed stand pegs. | km | 0 | 0 | 17.5 |  | 0
3 | AS-Built drawing by an approved surveyor (Who did the pegging of the project) | km | 0 | 0 | 17.5 |  | 0
4 | Bush Clearing and Tree Felling | m | 0 | 0 | 500 |  | 0
SUB-TOTAL | [6 empty] | 0
D | Digging Holes | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | Excavation for all LV stay holes (Rates apply for drilling or digging with backfilling per hole for all soil conditions) | e.a. | 0 | 0 | 225 |  | 0
2 | Excavation for all MV stay holes (Rates apply for drilling or digging with backfilling per hole for all soil conditions) | e.a. | 0 | 0 | 40 |  | 0
1 | Holes 7m (120-140mm) wooden Poles DIA TOP (Rates apply for drilling or digging with backfilling per hole for all soil conditions) | e.a. | 0 | 0 | 300 |  | 0
2 | Holes 9m (140-160mm) wooden Poles DIA TOP (Rates apply for drilling or digging with backfilling per hole for all soil conditions) | e.a. | 0 | 0 | 85 |  | 0
3 | Holes 11m (160-180mm) wooden Poles DIA TOP (Rates apply for drilling or digging with backfilling per hole for all soil conditions) | e.a. | 0 | 0 | 95 |  | 0
4 | Holes 12m (180-200mm) wooden Poles DIA TOP (Rates apply for drilling or digging with backfilling per hole for all soil conditions) | e.a. | 0 | 0 | 7 |  | 0
SUB-TOTAL | [6 empty] | 0
E | Plant poles | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | 7m Wood 120-140 mm tops | e.a. | 300 |  | 300
2 | 9m Wood 140-160 mm tops | e.a. | 85 |  | 85
3 | 9m Wood 180-200 mm tops | e.a. | 10 |  | 10
4 | 11m Wood 160-180mm tops | e.a. | 95 |  | 95
5 | 11m Wood 180-200mm tops | e.a. | 40 |  | 40
6 | 12m Wood 160-180mm tops | e.a. | 7 |  | 7
SUB-TOTAL
1 | Excavate cable trenches for HV cable excavate in all types of soil conditions 1.2m deep. Includes backfilling - 1200mm x 450mm | m | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Excavate cable trenches for LV cable excavate in all types of soil conditions 0.8m deep. Includes backfilling - 800mm x 450mm | m | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Excavate cable trenches for LV HOUSE CONNECTIONS cable excavate in all types of soil conditions 0.8m deep. Includes backfilling - 800mm x 450mm | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0
4 | Install Cable Sleeves 110mm at all road crossing | m | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Backfill soil (if approved by engineer will be paid per actual quantity
SUB-TOTAL | [6 empty] | 0 | 0 | 0
G | MV 'THREE PHASE | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | Int ass delta 0 deg | e.a. | 10 |  | 10 |  |  |  |  | 0
2 | Int ass vertical (1-10 deg) | e.a. | 10 |  | 10 |  |  |  |  | 0
3 | Int ass stag vertical ( 0-10 deg )3ph | e.a. | 15 |  | 15 |  |  |  |  | 0
4 | Strain ass delta (0-30 deg) | e.a. | 10 |  | 10 |  |  |  |  | 0
5 | Strain ass delta (30-90 deg) | e.a. | 13 |  | 13 |  |  |  |  | 0
6 | Terminal delta | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | T-off ass int-delta | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | T-off ass str-delta | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | T-off ass int vert | e.a. | 8 |  | 8 |  |  |  |  | 0
10 | Susp ass vert (10-30 deg) | e.a. | 8 |  | 8 |  |  |  |  | 0
11 | Strain ass vertical (30-90 deg) | e.a. | 8 |  | 8 |  |  |  |  | 0
12 | Terminal ass vert | e.a. | 10 |  | 10 |  |  |  |  | 0
13 | In-line strain vert | e.a. | 8 |  | 8 |  |  |  |  | 0
SUB-TOTAL | [9 empty] | 0
H | MV Stays | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | 0
1 | 1 Off conv anchor | e.a. | 40 |  | 40 |  |  |  |  | 0
2 | 1 Off flying stay | e.a. | 7 |  | 7 |  |  |  |  | 0
3 | 1 Off strut pole 12m | e.a. | 5 |  | 5 |  |  |  |  | 0
SUB-TOTAL
I | LV Structures | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | Int / susp (0-30 deg) | e.a. | 130 |  | 130 |  |  |  |  | 0
2 | Intermediate service | e.a. | 65 |  | 65 |  |  |  |  | 0
3 | Strain (0-60 deg) | e.a. | 45 |  | 45 |  |  |  |  | 0
4 | Strain (60-90 deg) | e.a. | 35 |  | 35 |  |  |  |  | 0
5 | Terminal | e.a. | 30 |  | 30 |  |  |  |  | 0
6 | T-off from interm | e.a. | 30 |  | 30 |  |  |  |  | 0 | 387
7 | T-off from strain | e.a. | 15 |  | 15 |  |  |  |  | 0
8 | Cross int-int ass | e.a. | 30 |  | 30 |  |  |  |  | 0
9 | Termination at TRFR | e.a. | 7 |  | 7 |  |  |  |  | 0
SUB-TOTAL | [9 empty] | 0
J | LV Stays | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | 0
1 | 1 Off conv anchor | e.a. | 185 |  | 185 |  |  |  |  | 0
2 | 1 Off flying stay | e.a. | 20 |  | 20 |  |  |  |  | 0
3 | 1 Off strut pole 9m | e.a. | 22 |  | 22 |  |  |  |  | 0 | 227
SUB-TOTAL | [9 empty] | 0
K | Service Boxes | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | 0
1 | 1 - 4 Way Split Meter box : 1 x 50 c1 5kA mcb with 1.2m tails and surge arrestors (Eskom Spec) | e.a. | 180 |  | 180 |  |  |  |  | 0
SUB-TOTAL
L | Stringing | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | 16mm sq Airdac CNE plus Pilot wires for street lights | m | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Fox conductor | m | 7000 |  | 7000 |  |  |  |  | 0
2a | 2x eye nuts and 1 meter galvanised rod for each MV pole. | ea | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2b | Parallel earth bridge peaces. (35mm AL conductor (1,2m) and X2 pg clamps INCLUDED) | ea | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Mink conductor | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 35 mm sq ABC 3-ph | m | 500 |  | 500 |  |  |  |  | 0
5 | 70 mm sq ABC 3-ph | m | 12000 |  | 12000 |  |  |  |  | 0
6 | HV CONDUCTOR AIR JUNCTION WITH "T" FERRULES | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUB-TOTAL | [9 empty] | 0
M | Transformer Installation And Accessories (nuts, bolts, clamps, and all cross arms and post or long rod insulators (use long rods for calculations), D-fuses, platform, surge arrestors) | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
Transformers: 22kV
1 | 100kVA x 3 Ph - new | ea | 6 |  | 6 |  |  |  |  | 0
2 | 50kVA x 3 Ph - new | ea | 1 |  | 1 |  |  |  |  | 0
3 | 32kVA x 3 Ph - new | ea | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 16kVA x 3 Ph - new | ea | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUB-TOTAL | [9 empty] | 0
N | LV Protection Morsdorf Type Fuses | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | 0
1 | 63A Dual phase (32 & 16kVA) | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 80A Three phase (50kVA) | e.a. | 1 |  | 1 |  |  |  |  | 0
3 | 160A three phase 100kvA | e.a. | 6 |  | 6 |  |  |  |  | 0
SUB-TOTAL | [9 empty] | 0
O | Installation Earthing | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | 0
1 | LV Earthing (10m tail/35mm AL rod with 3kg 35mm cu earthmat with 50/50 mixture conductive cement at every first and last pole from trf in 4mx20mm galvanised pipe) | e.a. | 28 |  | 28 |  |  |  |  | 0
2 | MV Earthing (Type 1 crowfoot)10m tail/35mm AL rod from trf in 4mx20mm galvanised pipe to grond then crowfoot. | e.a. | 7 |  | 7 |  |  |  |  | 0
3 | Bonding | e.a. | 45 |  | 45 |  |  |  |  | 0
SUB-TOTAL | [9 empty] | 0
P | Pole Numbering | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | 0
1 | MV pole number | e.a. | 95 |  | 95 |  |  |  |  | 0
2 | LV pole number | e.a. | 500 |  | 500 |  |  |  |  | 0
SUB-TOTAL | [9 empty] | 0
Q | Commissioning | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | 0
1 | Test & commission trsf and MV equipment | e.a. | 0 | 0 | 7 |  | 0 |  |  | 0
[7 empty] | 0 |  |  | 0
R | Other | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | 0
1 | Link assembly ( On-load) three phase | ea | 2 |  | 2 |  |  |  |  | 0
2 | Drop-out fuses three phase | ea | 7 |  | 7 |  |  |  |  | 0
3 | Drop-out fuses dual phase | ea | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Dismantle Existing MV Line (3 Phase) | m | 500 | 0 | 500 |  | 0 |  |  | 0
5 | 32mm Round Steel Conduit for cables | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Recloser 22kV 400A 8KA with IRTU | ea | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Live work | Prov. Sum | 2 | 35000 | 2 | 7500 | 70000 | 15000 | 85000 | 0
SUB-TOTAL | [9 empty] | 0
S | House Connections | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | 0
1 | Underground connection including fixed 2m conduit pipe against house. | ea | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Overhead connection | ea | 415 |  | 415 |  |  |  |  | 0
3 | Supply Readyboard, Split Meter 2 x 16A SKTS | ea | 415 |  | 415 |  |  |  |  | 0
5 | DIN Rail Single Phase PLC Smart Split Meter with CIU 20A | ea | 415 |  | 415 |  |  |  |  | 0
6 | Sealing of meters | ea | 415 |  | 415 |  |  |  |  | 0
7 | COC certificates | ea | 415 |  | 415 |  |  |  |  | 0
10 | INTERFACE: DC450 G3; PLC DC;230V COMPLETE WITH KIOSK | ea | 7 |  | 7 |  |  |  |  | 0
SUB-TOTAL | [9 empty] | 0
T | Cross-Arms, Excavate and plant poles | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | 0
1.A | 3.5m Wood Cross-arm (140-160mm) | e.a. | 9 |  | 9 |  |  |  |  | 0
1.B | 3.5m Steel Cross-arm Set | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.C | 5m Wood 80-100 mm tops | e.a. | 225 |  | 225 |  |  |  |  | 0
2A | 7m Wood 120-140 mm tops | e.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Shackpole Dressing | e.a. | 225 |  | 225 |  |  |  |  | 0
SUB-TOTAL | [9 empty] | 0
U | Conductor (Installation incl in service con rate) | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total | 0
1 | 6mm sq Airdac CNE plus Pilot wires | m | 21000 |  | 21000 |  |  |  |  | 0
2 | 10mm sq Airdac CNE plus Pilot wires | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUB-TOTAL
V | Street Lights And Spigots | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | 70W HPS/T 4Y with Lamps | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 150mm Spigots | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Piercing connectors for earth/live and neutral to ABC | No | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 1.5mm PVC x 1.5m Long cable for connection | m | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUB-TOTAL | [6 empty] | 0 | 0 | 0
0
0
Note on B85: User: Different Rates Refer mail from Vickson 24/10
Note on B103: User: Different Rates Refer mail from Vickson 24/10
Note on B136: User: Contractor does not supply meters and bases Refer mail from Vickson 24/10