## SUMMARY (2)
ELECTRIFICATION OF PRAKTISEER EXT 11
SUMMARY
ITEM | DESCRIPTION |  |  | AMOUNT
NUMBER OF CONNECTIONS: 1343 |  | Materials | Labour | Total Price
A | Preliminaries & General
B | Pegging out the works
C | Digging Holes
D | Plant poles
E | Three Phase
F | MV Stays
G | LV Structures
H | LV Stays
I | Service Boxes
J | Stringing
K | Transformer Installation
L | LV Protection Morsdorf type fuse
M | Installation Earthing
N | Pole Numbering
O | Commissioning
P | Other
Q | House Connections
R | Excavate and plant poles
S | Conductor
TOTAL
CONTINGENCY @10%
TOTAL 3 INCL CONTINGENCIES
VAT @ 15%
GRAND TOTAL

## Rates Contr
BOQ | ELECTRIFICATION OF PRAKTISEER EXT 11 BOQ
Item | Description | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
A | Site Establishment & Safety
1 | Site Camp, store, personnel, rental, safety, transport, notice board, etc. | e.a. | 0 |  | 8
2 | Payment of CLO (8 Months) (Provisional Amount) | e.a. | 0 |  | 8
3 | Payment of worker for entry and exit medical testing | Sum | 0 |  | 1
4 | Payment of PSC Members (7) | e.a. | 0 |  | 8
5 | Compliance with OHS ACT incl. Safety File and safety inspections & Covid-19 Regulations. | e.a. | 0 |  | 8
6 | Payment of security | Month | 0 |  | 8
7 | Compliance with COVID-19 Requirements | Sum | 1 |  | 1
8 | Facilities for the Engineer
| (i) Communication | Prov.Sum | 1 | 48000 | 0 | 0 | 48000 | 0 | 48000
| (ii) Site office facilities | Prov. Sum | 1 | 65000 | 0 | 45000 | 65000 | 0 | 65000
9 | Training (Prov. Amount) | Sum
(i) | Generic & Non-Generic Skills | Prov.Sum | 0 |  | 1 | 150000 | 0 | 150000 | 150000
(ii) | Occupational Health and Safety | Prov.Sum | 0 |  | 1 | 80000 | 0 | 80000 | 80000
10 | PPE for EPWP workers (20) | Sum | 1 |  | 0
SUB-TOTAL
B | Pegging out the works | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | MV Pegging (Provisional Amount) | Sum | 0 |  | 9.692
2 | LV Pegging (Provisional Amount) | Sum | 0 |  | 28.639
3 | Wayleave Applications(DAFF,RAL,SAHRA,DESD) | sum | 0 |  | 8
4 | AS-Built drawing (by an Eskom approved surveyor who pegged the lines) Only (Provisional amount) | sum | 0 |  | 1389
5 | Bush Clearing and Tree Felling | m | 0 |  | 59
SUB-TOTAL
C | Digging Holes | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1A | LV stay back-actor or hand | e.a. | 0 |  | 101.2
1B | Rock Drill | e.a. | 0 |  | 192.4
1C | Compressors | e.a. | 0 |  | 192.4
2A | MV stay back-actor or hand | e.a. | 0 |  | 21.6
2B | Rock Drill | e.a. | 0 |  | 38.2
2C | Compressors | e.a. | 0 |  | 38.2
3A | 7m Pole back-actor or hand | e.a. | 0 |  | 161.2
3B | Rock Drill | e.a. | 0 |  | 302.4
3C | Compressors | e.a. | 0 |  | 302.4
4A | 9m Pole back-actor or hand | e.a. | 0 |  | 51.4
4B | Rock Drill | e.a. | 0 |  | 102.8
4C | Compressors | e.a. | 0 |  | 102.8
5A | 10m Pole back-actor or hand | e.a. | 0 |  | 0
5B | Rock Drill | e.a. | 0 |  | 0
5C | Compressors | e.a. | 0 |  | 0
6A | 11m Pole back-actor or hand | e.a. | 0 |  | 32.4
6B | Rock Drill | e.a. | 0 |  | 64.8
6C | Compressors | e.a. | 0 |  | 64.8
7A | 13m Pole back-actor or hand | e.a. | 0 |  | 0
7B | Rock Drill | e.a. | 0 |  | 0
7C | Compressors | e.a. | 0 |  | 0
SUB-TOTAL
D | Plant poles | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | 7m Wood 120-140mm tops | e.a. | 706 |  | 706
2 | 9m Wood 140-160mm tops | e.a. | 214 |  | 214
3 | 9m Wood 160-180 mm tops | e.a. | 43 |  | 43
4 | 10m Wood 160-180mm tops | e.a. | 0 |  | 0
5 | 10m Wood 180-200mm tops | e.a. | 0 |  | 0
6 | 11m Wood 160-180mm tops | e.a. | 81 |  | 81
7 | 11m Wood 180-200mm tops | e.a. | 81 |  | 81
8 | 12m Wood 180-200mm tops | e.a. | 0 |  | 0
9 | 13m Wood 180-200mm tops | e.a. | 0 |  | 0
SUB-TOTAL
F | THREE PHASE | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | Int ass delta 0 deg | e.a. | 0 |  | 0
2 | Int ass vertical (1-10 deg) | e.a. | 89 |  | 89
3 | Int ass stag vertical ( 0 deg )3ph | e.a. | 0 |  | 0
4 | Strain ass delta (0-30 deg) | e.a. | 0 |  | 0
5 | Strain ass delta (30-90 deg) | e.a. | 0 |  | 0
6 | Terminal delta | e.a. | 0 |  | 0
7 | T-off ass int-delta | e.a. | 0 |  | 0
8 | T-off ass str-delta | e.a. | 0 |  | 0
9 | T-off ass int vert | e.a. | 23 |  | 23
10 | Susp ass vert (10-30 deg) | e.a. | 5 |  | 5
11 | Strain ass vertical (30-90 deg) | e.a. | 36 |  | 36
12 | Terminal ass vert | e.a. | 34 |  | 34
13 | In-line strain vert | e.a. | 0 |  | 0
SUB-TOTAL
G | MV Stays | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | 1 Off conv anchor | e.a. | 488 |  | 488
2 | 1 Off flying stay | e.a. | 17 |  | 17
3 | 1 Off strut pole 12m | e.a. | 9 |  | 9
SUB-TOTAL
H | LV Structures | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | Int / susp (0-30 deg) | e.a. | 506 |  | 506
2 | Intermediate service | e.a. | 0 |  | 0
3 | Strain (0-60 deg) | e.a. | 88 |  | 88
4 | Strain (60-90 deg) | e.a. | 115 |  | 115
5 | Terminal | e.a. | 223 |  | 223
6 | T-off from interm | e.a. | 104 |  | 104
7 | T-off from strain | e.a. | 0 |  | 0
8 | Cross int-int ass | e.a. | 17 |  | 17
9 | Termination at Trf | e.a. | 42 |  | 42
SUB-TOTAL
I | LV Stays | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | 1 Off conv anchor | e.a. | 414 |  | 414
2 | 1 Off flying stay | e.a. | 11 |  | 11
3 | 1 Off strut pole 9m | e.a. | 29 |  | 29
4 | 1 Off strut pole 11m | e.a. | 15 |  | 15
SUB-TOTAL
J | Service Boxes | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1A | 1 - 4 Way Split Meter box : 1 x 63 A mcb | e.a. | 523 |  | 523
2B | 5 - 8 Way Split Meter box : 2 x 63 A mcb | e.a. |  |  | 0
SUB-TOTAL
K | Stringing | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | Squirrel conductor | m | 0 |  | 0
2 | Mink conductor | m | 33349.8 |  | 33349.8
3 | Fox conductor | m | 0 |  | 0
4 | 35 mm sq ABC 1-ph | m | 0 |  | 0
5 | 35 mm sq ABC 2- ph | m | 0 |  | 0
6 | 35 mm sq ABC 3-ph | m | 1715.15 |  | 1715.15
7 | 70 mm sq ABC 1-ph | m | 0 |  | 0
8 | 70 mm sq ABC 2-ph | m | 0 |  | 0
9 | 70 mm sq ABC 3-ph | m | 26080.3 |  | 26080.3
10 | MV Mink full tension joint | e.a. | 94 |  | 94
11 | LV joint 35 mm full tension | e.a. | 11 |  | 11
12 | LV joint 70 mm full tension | e.a. | 232 |  | 232
SUB-TOTAL
L | Transformer Installation | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
Transformers: 11kV & 22kV
1 | 200kVA x 3 Ph (1 off) - relocate | ea | 0 |  | 0
2 | 200kVA x 3 Ph (1 off) - new | ea | 0 |  | 0
3 | 100kVA x 3 Ph (2 off) - relocate | ea | 0 |  | 0
4 | 100kVA x 3 Ph (2 off) - new(22kV) | ea | 24 |  | 24
5 | 50kVA x 3 Ph (0 off) - relocate | ea | 0 |  | 0
6 | 50kVA x 3 Ph (0 off) - new(22kV) | ea | 2 |  | 2
7 | 32kVA x 2 Ph (0 off) - relocate | ea | 0 |  | 0
8 | 32kVA x 2 Ph (0 off) - new(22kV) | ea | 0 |  | 0
9 | 25kVA x 3 Ph (0 off) - relocate | ea | 0 |  | 0
10 | 25kVA x 3 Ph (0 off) - new | ea | 0 |  | 0
11 | 16kVA x 1 Ph (1 off) - relocate | ea | 0 |  | 0
12 | 16kVA x 1 Ph (1 off) - new(22kV) | ea | 0 |  | 0
SUB-TOTAL
M | LV Protection Morsdorf type fuses | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | 80 A Single Phase | e.a. | 0 |  | 0
2 | 80A Dual phase (32kVA) | e.a. | 0 |  | 0
3 | 80A Three phase (50kVA) | e.a. | 2 |  | 2
4 | 125A | e.a. | 0 |  | 0
5 | 160A Three phase (100kVA) | e.a. | 24 |  | 24
SUB-TOTAL
N | Installation Earthing | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | MV Earthing (Type 1 crowfoot) | e.a. | 26 |  | 26
2 | LV Earthing (Type 1 crowfoot) | e.a. | 55 |  | 55
3 | Bonding | e.a. | 81 |  | 81
SUB-TOTAL
O | Pole Numbering | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | MV pole number | e.a. | 162 |  | 162
2 | LV pole number | e.a. | 749 |  | 749
SUB-TOTAL
P | Commissioning | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | Test & commission trsf and MV equipment | e.a. | 0 |  | 26
Q | Other | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | Link assembly ( On-load) per phase | ea | 0 |  | 0
2 | Link assembly (Off load) per phase | ea | 85 |  | 85
3 | Drop-out fuses three phase | ea | 78 |  | 78
4 | Drop-out fuses single phase | ea | 0 |  | 0
5 | Sample line /Material Board | sum | 0 |  | 0
6 | CT/VT unit, incl meter box, links | ea | 0 |  | 0
7 | Remove existing poles | ea | 0 |  | 0
8 | Dismantle Existing LV Feeder Including (Poles, Conductor and all the Associated Accessories Incuding Transportation to Eskom Stores ) | m | 0 |  | 30000
9 | Remove existing stay | ea | 0 |  | 0
10 | Remove existing transformer | ea | 0 |  | 0
11 | Dismantle Existing MV Feeder Including (Poles, Conductor , Transfomer and all the Associated Accessories Incuding Transportation to Eskom Stores ) | m | 0 |  | 12000
12 | Live work (Provisional Amount) | ea | 0 |  | 1
13 | Remove existing dressing | ea | 0 |  | 0
14 | Ant-clim device | ea | 109 |  | 109
15 | Tree felling (trunk diameter > 300mm) | ea | 0 |  | 0
SUB-TOTAL
R | House Connections | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | Underground connection | ea | 0 |  | 0
2 | Overhead connection | ea | 1343 |  | 1343
3 | Supply ECU base, fixing rails and plug | ea | 1343 |  | 1343
4 | Supply 20A ECU (internal ELPU) | ea | 1343 |  | 1343
5 | Supply Split Meter Din Rail 20A WS with Keypad | ea | 1343 |  | 1343
6 | Sealing of meters | ea | 1343 |  | 1343
7 | COC certificates | ea | 0 |  | 0
8 | COC Certificate ECA version | ea | 1343 |  | 1343
9 | Supply and install additional 63A circuit breaker | ea | 0 |  | 0
10 | Supply Ready Board plus Rail (No Light) | ea | 0 |  | 0
11 | Capture and upload of customer data new & Existing, incl. GPS co-ordinates and Supply of Data books | ea | 35 |  | 1343
SUB-TOTAL
S | Excavate and plant poles | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1A | 5m Wood 80-100 mm tops | e.a. | 128.1 |  | 128.1
1B | Rock Drill | e.a. | 170.8 |  | 170.8
1C | Compressors | e.a. | 128.1 |  | 128.1
2A | 7m Wood 120-140 mm tops | e.a. | 0 |  | 0
2B | Rock Drill | e.a. | 0 |  | 0
2C | Compressors | e.a. | 0 |  | 0
3 | Shackpole Dressing | e.a. | 0 |  | 0
4 | Compressors | e.a. | 0 |  | 0
5 | Hand Excavate Cable trench -house connection | m | 0 |  | 0
6 | Hand Excavate Cable trench-Road Crossing | m | 0 |  | 0
7 | Install Cable Sleeves 110mm | m | 0 |  | 0
SUB-TOTAL
T | Conductor( Installation incl in service con rate) | Unit | MQty | MRate | LQty | LRate | Mtotal | Ltotal | Total
1 | 4mm sq Airdac SNE plus Pilot wires | m | 0 |  | 0
2 | 10mm sq Airdac SNE plus Pilot wires | m | 63121 |  | 63121
SUB-TOTAL
,
Note on A92: User: Different Rates Refer mail from Vickson 24/10
Note on A116: User: Different Rates Refer mail from Vickson 24/10
Note on A141: User: Quantity ommitted Refer mail from Vickson 24/10
Note on A148: User: Labour should be charged - refer mail from Vickson Ravele 24/10
Note on A153: User: Fuses used, not links Refer mail from Vickson 23/10
Note on A167: User: Contractor does not supply meters and bases Refer mail from Vickson 24/10